Typical LSU100 specification narrative text

- Level measurement shall be done by a low-maintenance ultrasonic device that will not be in contact with the liquid.

- The level measurement device shall be a two wire 12-40V powered transmitter with a 4-20mA output signal proportional to the level.

- The level measurement device shall include the ultrasonic head and the current transmitter in a single enclosure.

- The level measurement device shall operate over an extended temperature range of -40°C to +60°C.

- The level measurement device shall be pre-programmed with a 0-5m level measurement range.

- The level measurement device shall be provided with a 20m cable.

- The level measurement device shall be reprogrammable using the HART protocol.

- The level measurement device shall be FM and CSA approved.

- The level measurement device shall be a Flygt LSU100.